KİMYASAL MALZEME TEKNİK ŞARTNAMESİ

İstenilen ürünlere ait analiz sertifikaları ve MSDS belgeleri fiyat teklifiyle birlikte kesinlikle sunulmalıdır. Ürünlerin şartnameye uygunluğuna analiz sertifikaları incelenerek karar verileceği için analiz sertifikası olmayan teklifler değerlendirilmeyecektir.

Belirtilen saflık ve özellik dışında teklif edilen ürünler kesinlikle kabul edilmeyecektir.

Malzemeler orijinal ambalajlarında teslim edilmelidir.

İstekli alımda fiyat teklifi verdiği tüm ürünler için marka ve kod belirtmek zorundadır.

Tüm ürünler tek seferde teslim edilmelidir.

Tüm kimyasal ve standart malzemeler akreditasyon uygulamaları kullanıma uygun olmalıdır.

Ambalaj etiketi ambalajdan kolay ayrılmamalıdır.

Toksik, yanıcı, patlayıcı ve benzeri riskleri taşıyan maddelerin ambalajı üzerinde riskleri belirleyici güvenlikle ilgili uyarılar bulunmalıdır.

Ambalaj dış etkilerden maddeyi koruduğu gibi, dış ortama da koku vb. vermeyecek nitelikte olmalıdır.

Ürünlerin son kullanım tarihleri teslim tarihinden itibaren en az 24 ay olmalıdır.

Ürünler teslim edildikten sonra farklı veya istenmeyen özellikler saptanırsa, ürün bozuk çıkar veya alımdan sonra kullanıcı hatası dışında uygun sonuç vermezse acilen değiştirilmesi istenebilecektir. Değiştirilmesi istenen ürünler en fazla 10 iş günü içinde değiştirilmelidir.

OTOMATİK PİPET 20-200 μl, Full Otoklavlanabilir, ISO8655'e göre kalibreli

Artış Adımı [µl]: 0,02

Hata Payı (±): %0.8

Belirsizlik (±) %:0.4

Tüm parçaları otoklavlanabilir olmalıdır. ISO standartlarına uygun üretilmiş olmalıdır.

OTOMATİK PİPET 100-1000 μl, Full Otoklavlanabilir, ISO8655'e göre kalibreli

Artış Adımı [µl]: 1.0

Hata Payı (±): %0.6

Belirsizlik (±) %:0.2

Tüm parçaları otoklavlanabilir olmalıdır. ISO standartlarına uygun üretilmiş olmalıdır.

PİPET UCU 5-200 µl, SARI, EPPENDORF TİP (1000 ADET/PAKET)

5-200 µl hacminde olmalıdır. İnsan eli değmeden, tam otomasyon ile steril alanlarda üretilmeli, kesinlikle DNase, RNAse ve Pyrojen içermemelidir. Maksimum ürün geri kazanımı özelliği ürün aktarımının maksimum kesinlik ve doğrulukta yapılmasını garantilemelidir.

PİPET UCU 100-1000 µl, MAVİ, EPPENDORF TİP (500 ADET/PAKET)

100-1000 µl hacminde olmalıdır. İnsan eli değmeden, tam otomasyon ile steril alanlarda üretilmeli, kesinlikle DNase, RNAse ve Pyrojen içermemelidir. Maksimum ürün geri kazanımı özelliği ürün aktarımının maksimum kesinlik ve doğrulukta yapılmasını garantilemelidir.

N,N-DIMETHYLFORMAMIDE ≥ 99% , EXTRA PURE 2,5 L

Product form : Substance

Substance name : N,N-dimethylformamide

EC Index-No. : 616-001-00-X

EC-No. : 200-679-5

CAS-No. : 68-12-2

Type of product : Pure substance

Formula : C3H7NO

Physical state : Liquid

Appearance : Liquid.

Molecular mass : 73.09 g/mol

Colour : Colourless to light yellow.

Odour : Unpleasant odour. Smell of fish. Amine-like odour.

Odour threshold : 0.046 ppm

0.14 mg/m³

pH : 7 (200 g/l, H₂O, 20 °C)

pH solution : 20 %

Relative evaporation rate (butylacetate=1) : 0.17

Relative evaporation rate (ether=1) : 60

Melting point : -61 °C

Freezing point : No data available

Boiling point : 153 °C

Flash point : 58 °C

Critical temperature : 370 °C

Auto-ignition temperature : 440 °C

Decomposition temperature : 350 °C

Flammability (solid, gas) : No data available

Vapour pressure : 3.77 hPa (20 °C)

Vapour pressure at 50 °C : 25 hPa (50 °C)

Critical pressure : 44066 hPa

Relative vapour density at 20 °C : 2.5

Relative density : 0.95

Relative density of saturated gas/air mixture : 1

Density : 940 kg/m³(20 °C)

Solubility : Soluble in water. Soluble in ethanol. Soluble in ether. Soluble in acetone. Soluble in aromatic

hydrocarbons. Soluble in chloroform. Soluble in tetrachloromethane. Soluble in dimethyl

sulfoxide.

Water: 100 g/100ml (20 °C)

Ethanol: Complete

Ether: Complete

Acetone: Complete

Log Pow : -1.01 (Experimental value)

Viscosity, kinematic : No data available

Viscosity, dynamic : No data available

Explosive properties : No data available

Oxidising properties : No data available

Explosive limits : 2.2 - 16 vol %

70 - 500 g/m³

DICHLOROMETHANE ≥ 99%, PH. EUR., NF 2,5 L

Product form : Substance

Substance name : Dichloromethane

EC Index-No. : 602-004-00-3

EC-No. : 200-838-9

CAS-No. : 75-09-2

Type of product : Pure substance

Formula : CH2Cl2

Physical state : Liquid

Appearance : Liquid.

Molecular mass : 84.93 g/mol

Colour : Colourless.

Odour : Sweet odour. Ether-like odour.

Odour threshold : 214 ppm

755 mg/m³

pH : Neutral at 20 °C

Relative evaporation rate (butylacetate=1) : 27.5

Relative evaporation rate (ether=1) : 1.8

Melting point : -95 °C

Freezing point : No data available

Boiling point : 40 °C

Flash point : No data available

Critical temperature : 245 °C

Auto-ignition temperature : 556 °C

Decomposition temperature : > 120 °C

Flammability (solid, gas) : No data available

Vapour pressure : 475 hPa (20 °C)

Vapour pressure at 50 °C : 1445 hPa (50 °C)

Critical pressure : 61000 hPa

Relative vapour density at 20 °C : 2.9

Relative density : 1.3

Relative density of saturated gas/air mixture : 1.9

Density : 1.33 g/cm3

(20 °C)

Solubility : Moderately soluble in water. Substance sinks in water. Soluble in ethanol. Soluble in ether.

Soluble in acetone. Soluble in chloroform. Soluble in tetrachloromethane. Soluble in

dimethylformamide.

Water: 2.0 g/100ml

Log Pow : 1.25 (Experimental value)

Viscosity, kinematic : No data available

Viscosity, dynamic : 0.00043 Pa.s (20 °C)

Explosive properties : No data available

Oxidising properties : No data available

Explosive limits : 13 - 22 vol %

450 - 780 g/m³

1,4-Dioxane, RPE - For analysis - ACS - Reag.Ph.Eur. - Reag.USP - Stabilized with BHT 2,5 L

Molecular Formula: OCH2CH2OCH2CH2

Molecular Weight: 88.11

Cas-n: 123-91-1

Synonyms: Diethylene oxide

Description Clear colourless liquid -

Identification Positive -

Density d20/4 1.032 - 1.036 -

Refractive index at 20?C 1.4194 - 1.4254 -

Boiling point 100.5 - 101.5 ?C

Freezing point 11.5 - 12.1 ?C

Water (K.F.) <= 500 ppm

Assay (GC) >= 99.8 %

Peroxide (as H2O2) <= 50 ppm

Carbonyl compounds (as HCHO) <= 100 ppm

Description Clear liquid -

Colour <= 20 APHA

Identification (I.R.) Positive -

1,3,5-Benzenetricarboxylic acid, 98%; 100 g

CAS: 554-95-0

MDL: MFCD00002517

Sum formula: C9H6O6

Melting point: 374.00°C - 376.00°C

Flash point: 328.00°C

2-PROPANOL HPLC GRADE (E.) 2,5 L

2,5 L lik orijinal ambalajında teslim edilmelidir. %99,9 saflıkta olmalıdır.

Zirconium(IV) chloride, (99.5% Zr); . 50 g moisture sensitive

CAS: 10026-11-6

MDL: MFCD00011306

Sum formula: Cl4Zr

Molecular weight: 233.03 g/mol

Density: 2.803 g/ml

Melting point: 437.00°C

tri-Sodium citrate dihydrate, RPE - For analysis 1 kg

CAS N. 6132-04-3

Molécule Sodium citrate tribasique bihydraté

Spécifications 479480

Msds 555

L-Cysteine, 10 g, glass ≥98 %, for biochemistry

α-Amino-β-mercapto-propionic acid

Empirical formula C3H7NO2S

Molar mass (M) 121,16 g/mol

Density (D) 1,496 g/cm³

Melting point (mp) 178 °C

WGK 1

CAS No. 52-90-4

EG-Nr. 200-158-2

Ethylene glycol, RPE - For analysis 2,5 L

Molecular Formula

CH2OHCH2OH

Molecular Weight

62.07

Cas-n

107-21-1

Synonyms

1,2-Ethanediol

Water miscibility Conform -

Miscible in acetone Complete -

Description Clear colourless liquid -

Identification Positive -

Alcohol miscibility Complete -

Reaction with ammonium hydrate Conform -

Reducing AgNO3 ammonium Conform –

Density at 20?C 1.108 - 1.118 -

Refractive index at 20?C 1.4274 - 1.4354 -

Boiling point 194 - 200 ?C

Water (K.F.) <= 0.1 %

Acidity (acetic acid) <= 3 ppm

Chloride <= 2 ppm

Carbonyl compounds (as CO) <= 100 ppm

Heavy metals (as Pb) <= 2 ppm

Peroxide (as H2O2) <= 5 ppm

Residue on ignition <= 50 ppm

Sulfate <= 20 ppm

Fe <= 1 ppm

Assay (GC) >= 99.5 %

HYDROFLUORIC ACID ≥40%, REAG. ISO, REAG. PH. EUR. 2,5 L

(CAS-No.) 7664-39-3

(EC-No.) 231-634-8

(EC Index-No.) 009-003-00-1
Physical state : Liquid

Appearance: Liquid.

Molecular mass: 20.01 g/mol

Colour : No data available on colour.

Odour : No data available on odour.

Odour threshold : No data available

pH : No data available

Relative evaporation rate (butylacetate=1) : No data available

Melting point : -40 °C

Freezing point : No data available

Boiling point : 110 °C

Flash point : No data available

Auto-ignition temperature : No data available

Decomposition temperature : No data available

Flammability (solid, gas) : Not applicable

Vapour pressure : 25 mmHg ( 20 °C)

Relative vapour density at 20 °C : 1.27

Relative density : No data available

Density : 1.14 g/cm³

Choline chloride, 99% 50 g

Product Name: Choline chloride, (2-Hydroxyethyl)trimethylammonium chloride

CAS RN: 67-48-1

ACD Code: MFCD0001172

Molecular Formula: C5 H14 Cl N O

Molecular weight: 139.63

Melting Point (°C): 298	 - 304

Terephthalic acid, 99+% 250 g

Product Name: Terephthalic acid, 1,4-Benzenedicarboxylic acid

CAS RN: 100-21-0

ACD Code: MFCD00002558

Molecular Formula: C8 H6 O4

Molecular weight: 166.13

Melting Point (°C): >	300

Sublimation temperature (°C):  402

Hidrotermal sentez otoklav reaktörü haznesi PPL 150 mL (Hydrothermal autoclave reactor liner PPL)

Hacim : 150 ml

Dış Ölçüler:  Yükseklik 200 mm  Çap 110 mm

İç Hazne Ölçüleri : Çap: 47 mm  Yükseklik : 120 mm

Maksimum Çalışma Sıcaklığı : 250 °C

Maksimum Çalışma Basıncı : ≤3 Mpa

İç Hazne : PPL

Dış Hazne : SS 316 L

Zirconyl chloride octahydrate, 98% 5 g

Product Name: Zirconyl chloride octahydrate

CAS RN:  13520-92-8

ACD Code:  MFCD00149898

Molecular Formula:  Cl2 O Zr . 8 H2 O

Molecular weight: 322.25

Density (g/cm³): 1.91

Bis(2-ethylhexyl) phosphate 97% 25 g

CAS Number: 298-07-7

Molecular Weight: 322.42

Beilstein: 1712988

EC Number: 206-056-4

MDL number: MFCD00009492

PubChem Substance ID: 24854273

NACRES: NA.22

Quality Level: 100

Assay: 97%

Form: liquid

refractive index: n20/D 1.443 (lit.)

mp: −60 °C (lit.)

solubility: ethanol: soluble 100 mg/mL, clear

density: 0.965 g/mL at 25 °C (lit.)

2-Aminoterephthalic acid, 99% 25 g

Product Name: 2-Aminoterephthalic acid, 2-Amino-1,4-benzenedicarboxylic acid

CAS RN: 10312-55-7

ACD Code: MFCD00134536

Molecular Formula: C8 H7 N O4

Molecular weight: 181.15

Melting Point (°C): 324

Polyvinylpyrrolidone K 90, 100 g extra pure

Polyvidon, Povidon, PVP

Empirical formula (C6H9NO)n

Molar mass (M) 900000-1200000 g/mol

Density (D) 1,2 g/cm³

Melting point (mp) 130 °C

WGK 1

CAS No. 9003-39-8

Basolite® F300 produced by BASF 10 G

CAS Number: 1195763-37-1

Molecular Weight: 262.96

MDL number: MFCD11656051

PubChem Substance ID: 329761369

NACRES: NA.23

Grade: produced by BASF

Quality Level: 100

Form: solid

greener alternative product characteristics: Design for Energy Efficiency, Learn more about the Principles of Green Chemistry.

surface area: BET surf. area 1300-1600 m2/g

bulk density: 0.16‑0.35 g/cm3

greener alternative category: Enabling

SMILES string: O=C1O[Fe]2OC(=O)c3cc1cc(c3)C(=O)O2

InChI: 1S/C9H6O6.Fe/c10-7(11)4-1-5(8(12)13)3-6(2-4)9(14)15;/h1-3H,(H,10,11)(H,12,13)(H,14,15);/q;+3/p-3

InChI key: UTYFBNKMZYRAFO-UHFFFAOYSA-K